## Instruction
LOIN-Lighting Fixture | This includes what LOIN embeds into and is expected to be delivered.
IDS for LOIN | This sheet contains the IDS prepared according to the LOIN. Picture is attached for comprehensive understanding of the input at sheet 3 (IDS for LOIN)
The python script extracts information from sheet 3 and produces the IDS file
It should be noted that the IDS can only provide the requirements based on its schema. Since the LOIN is rich in metadata, it may not be possible to include all the attributes of the properties. The best that could be done is to use : 1. Use URI element in IDS to link our property instance 2. Use Property description to instruct modeler "Refer the URI for property and see the property description to include all other attributes of the property" 3. For the Property Instruction, "For each property, add metadata: label, definition, identifier, unit, GUID"
IDS official schema | https://github.com/buildingSMART/IDS
Free IDS viewer | https://viewer.sortdesk.com/

## LOIN-LightingFixture
PREREQUISITES |  |  |  |  | LOIN
Milestone | Purpose | Actor | Object_Name | IFC entity | PropertySet | Property_BaseName | Property_label | Property_Definition | Property_Unit | Property_GUID | Property_Identifier | Data_Type | Value_Enumerations
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Electrical | PowerFactor | Power Factor | Ratio of the amount of the active power to the apparant power at 100% load. See Also IEC 80000-6. | UNITLESS | 3LBrQkLDDFheBOxrGk8Zr_ | 02-0003 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Electrical | RatedVoltage | Nominal mains volatage | Nominal voltage at which the product operates normally as specified by the supplier or manufacturer. | V | 3ERn8VgnjDjhulH3MaG9yG | 02-0028 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Electrical | StandByPower | Standby Power | Power consumption of switched off luminaire. All electrical components including emergency and lighting controls components have to be considered. Is also known as parasitic power. See also EN 15193-1. | W | 0TzE4sMDv1pwfygK1xxjm5 | 02-0006 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_MechanicalAndInstallation | MountingType | Mounting Type | Type of mounting used for the luminaire or sensing device. | UNITLESS | 3m5UX0NuH4YRPUJ1EmzXz7 | 06-0003 | String | SurfaceMounted Pendant FreeStanding Recessed PartlyRecessed TrimlessRecessed PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_MechanicalAndInstallation | Length | Length | Length of the housing of the luminaire or sensing device. Length is set parallel to the C90-C270 plane. Corresponds to y-axis and with 90 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | MilliM | 1uJglYpRnFpQ4tStHaR2Pf | 01-0003 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_MechanicalAndInstallation | IPRating | Ingress protection IP Code | The IP code classifies and rates the degree of protection provided against intrusion (body parts such as hands and fingers), dust, accidental contact, and water by mechanical casing and electrical enclosures. See Also, EN 60529. | UNITLESS | 1K_1K1q6n7KgOFJw5Cuc_i | 02-0031 | String | IP20 IP21 IP22 IP23 IP24 IP25 IP26 IP27 IP28 IP30 IP31 IP32 IP33 IP34 IP35 IP36 IP37 IP38 IP40 IP41 IP42 IP43 IP44 IP45 IP46 IP47 IP48 IP50 IP51 IP52 IP53 IP54 IP55 IP56 IP57 IP58 IP60 IP61 IP62 IP63 IP64 IP65 IP66 IP67 IP68 IP69 IP69K
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_MechanicalAndInstallation | Height | Height | Height of the housing of the luminaire or sensing device. Corresponds to z-axis, gaMilliM angle 180 and 180 vertical of the light distribution curve. This definition is regardless or orientation of luminaires. See Figures 1. | MilliM | 19Z9XKYDT4p8HR0ZbD$wO_ | 01-0002 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_MechanicalAndInstallation | Width | Width | Width of the housing of the luminaire or sensing device. Width is set parallel to the C0-C180 plane. Corresponds to the x-axis and with 0 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | MilliM | 1dPvrZN3vEIB0n0vwYvDcX | 01-0004 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Photometric | RatedLuminousFlux | Rated Luminous flux of the light source | Value of the initial luminous flux of a given type of light source declared by the manufacturer or the responsible vendor, the light source being operated at an ambient temperature of 25 degree celcius. See also EN13032-4. | LM | 2gmo70bVX90uJh2YAvS62s | 04-0006 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Photometric | LuminousEfficacy | Luminous Efficacy | Quotient of the luminous flux emitted by the luminaire and the power absorbed by the light source and associated circuits of the luminaire. | LM-PER-W | 1QmFILGbX6_BfU63rG5mrh | 04-0007 | FloatNumber
DesignPhase | LightingSimulation | Lighting Manufacturer | Lighting Fixture | IfcLightingFixtureType | Pset_Photometric | CorrelatedColorTemperature | Correlated Color Temperature (CCT) | The colour temperature of any source of radiation is defined as the temperature (in Kelvin) of a black-body or Planckian radiator whose radiation has the same chromaticity as the source radiation. See Also EN12665. | K | 0XeHsouWz8PxASJ4mpkdEY | 04-0023 | FloatNumber

## IDS_FOR_LOIN
<INFO> |  | <SPECIFICATIONS> |  |  |  | <SPECIFICATIONS>
Info MetaData |  | Specification |  | Applicability |  | Requirements
Elements | Values | Element | Values | Element | Values | Requirement Type | URI | Cardinality | Instructions | PropertySet | BaseName | Value | dataType | Enumeration Value
Title | Lighting Fixture - LOIN Core Properties | Name | Lighting Fixture - LOIN Core Properties | Applicability Type | entity | Property | http://ju.se/DataDictionaryForLightingFixture#PowerFactor | required |  | Pset_Electrical | PowerFactor |  | IFCNORMALISEDRATIOMEASURE
Copyright |  | IfcVersion | IFC2X3 | Name | IfcLightFixtureType | Property | http://ju.se/DataDictionaryForLightingFixture#RatedVoltage | required |  | Pset_Electrical | RatedVoltage |  | IFCELECTRICVOLTAGEMEASURE
Version | 1.1 | Identifier |  | Predefined Type |  | Property | http://ju.se/DataDictionaryForLightingFixture#StandByPower | required |  | Pset_Electrical | StandByPower |  | IFCPOWERMEASURE
Description | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | Description | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. |  |  | Property | http://ju.se/DataDictionaryForLightingFixture#MountingType | required |  | Pset_MechanicalAndInstallation | MountingType | enumeration | IFCLABEL | SurfaceMounted Pendant FreeStanding Recessed PartlyRecessed TrimlessRecessed PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other
Author | BIMEngineer@gmail.com | Instruction | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. Follow URI to review properties through Data Dictionary. |  |  | Property | http://ju.se/DataDictionaryForLightingFixture#Length | required |  | Pset_MechanicalAndInstallation | Length |  | IFCLENGTHMEASURE
Date | 2025-12-12 | Cardinality | required |  |  | Property | http://ju.se/DataDictionaryForLightingFixture#IPRating | required |  | Pset_MechanicalAndInstallation | IPRating | enumeration | IFCLABEL | IP20 IP21 IP22 IP23 IP24 IP25 IP26 IP27 IP28 IP30 IP31 IP32 IP33 IP34 IP35 IP36 IP37 IP38 IP40 IP41 IP42 IP43 IP44 IP45 IP46 IP47 IP48 IP50 IP51 IP52 IP53 IP54 IP55 IP56 IP57 IP58 IP60 IP61 IP62 IP63 IP64 IP65 IP66 IP67 IP68 IP69 IP69K
Purpose | LightingSimulation |  |  |  |  | Property | http://ju.se/DataDictionaryForLightingFixture#Height | required |  | Pset_MechanicalAndInstallation | Height |  | IFCLENGTHMEASURE
Milestone | DesignPhase |  |  |  |  | Property | http://ju.se/DataDictionaryForLightingFixture#Width | required |  | Pset_MechanicalAndInstallation | Width |  | IFCLENGTHMEASURE
[6 empty] | Property | http://ju.se/DataDictionaryForLightingFixture#RatedLuminousFlux | required |  | Pset_Photometric | RatedLuminousFlux |  | IFCLUMINOUSFLUXMEASURE
[6 empty] | Property | http://ju.se/DataDictionaryForLightingFixture#LuminousEfficacy | required |  | Pset_Photometric | LuminousEfficacy |  | IFCRATIOMEASURE
[6 empty] | Property | http://ju.se/DataDictionaryForLightingFixture#CorrelatedColorTemperature | required |  | Pset_Photometric | CorrelatedColorTemperature |  | IFCTHERMODYNAMICTEMPERATUREMEASURE

## Intrinsic & Extrinsic Property
Intrinsic Property Requirements
| Property Set | Properties | Property Requirements using Data Dictionary
|  |  | GUID | ID | Name | Description | Datatype | Unit | Value
| Pset_Photometric | CorrelatedColorTemperature | 0XeHsouWz8PxASJ4mpkdEY | 04-0023 | Correlated Color Temperature (CCT) | The colour temperature of any source of radiation is defined as the temperature (in Kelvin) of a black-body or Planckian radiator whose radiation has the same chromaticity as the source radiation. See Also EN12665. | float | K
| Pset_Photometric | RatedLuminousFlux | 2gmo70bVX90uJh2YAvS62s | 04-0006 | Rated Luminous flux of the light source | Value of the initial luminous flux of a given type of light source declared by the manufacturer or the responsible vendor, the light source being operated at an ambient temperature of 25 degree celcius. See also EN13032-4. | float | LM
| Pset_Photometric | LuminousEfficacy | 1QmFILGbX6_BfU63rG5mrh | 04-0007 | Luminous Efficacy | Quotient of the luminous flux emitted by the luminaire and the power absorbed by the light source and associated circuits of the luminaire. | float | LM-Per-W
| Pset_Electrical | RatedVoltage | 3ERn8VgnjDjhulH3MaG9yG | 02-0028 | Nominal mains volatage | Nominal voltage at which the product operates normally as specified by the supplier or manufacturer. | float | V
| Pset_Electrical | PowerFactor | 3LBrQkLDDFheBOxrGk8Zr_ | 02-0003 | Power Factor | Ratio of the amount of the active power to the apparant power at 100% load. See Also IEC 80000-6. | float | UNITLESS
| Pset_Electrical | StandByPower | 0TzE4sMDv1pwfygK1xxjm5 | 02-0006 | Standby Power | Power consumption of switched off luminaire. All electrical components including emergency and lighting controls components have to be considered. Is also known as parasitic power. See also EN 15193-1. | float | W
| Pset_MechanicalAndInstallation | Length | 1uJglYpRnFpQ4tStHaR2Pf | 01-0003 | Length | Length of the housing of the luminaire or sensing device. Length is set parallel to the C90-C270 plane. Corresponds to y-axis and with 90 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | float | MilliM
| Pset_MechanicalAndInstallation | Width | 1dPvrZN3vEIB0n0vwYvDcX | 01-0004 | Width | Width of the housing of the luminaire or sensing device. Width is set parallel to the C0-C180 plane. Corresponds to the x-axis and with 0 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | float | MilliM
| Pset_MechanicalAndInstallation | Height | 19Z9XKYDT4p8HR0ZbD | 01-0002 | Height | Height of the housing of the luminaire or sensing device. Corresponds to z-axis, gaMilliM angle 180 and 180 vertical of the light distribution curve. This definition is regardless or orientation of luminaires. See Figures 1. | float | MilliM
| Pset_MechanicalAndInstallation | IPRating | 1K_1K1q6n7KgOFJw5Cuc_i | 02-0031 | Ingress protection IP Code | The IP code classifies and rates the degree of protection provided against intrusion (body parts such as hands and fingers), dust, accidental contact, and water by mechanical casing and electrical enclosures. See Also, EN 60529. | string | N/A | IP20 IP21 IP22 IP23 IP24 IP25 IP26 IP27 IP28 IP30 IP31 IP32 IP33 IP34 IP35 IP36 IP37 IP38 IP40 IP41 IP42 IP43 IP44 IP45 IP46 IP47 IP48 IP50 IP51 IP52 IP53 IP54 IP55 IP56 IP57 IP58 IP60 IP61 IP62 IP63 IP64 IP65 IP66 IP67 IP68 IP69 IP69K
| Pset_MechanicalAndInstallation | MountingType | 3m5UX0NuH4YRPUJ1EmzXz7 | 06-0003 | Mounting Type | Type of mounting used for the luminaire or sensing device. | string | N/A | SurfaceMounted Pendant FreeStanding Recessed PartlyRecessed TrimlessRecessed PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other
Technical Project Requirements (TPR)
Space | Properties | Requirements
Office | IP Rating | 20 or above
| MountingType | Not allowed (FreeStanding PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other)
| Correlated Color Temperature | 3000-4000k
| Property Set | Properties | Intrinsic Property Requirements
|  |  | Presence | DataType Requirement | Value Requirement | Enumeration Requirement
| Pset_Photometric | CorrelatedColorTemperature | must exist | float | > 0 (CCT cannot be zero or negative) | N/A
| Pset_Photometric | RatedLuminousFlux | must exist | float | ≥ 0 (luminous flux cannot be negative) | N/A
| Pset_Photometric | LuminousEfficacy | must exist | float | > 0 (efficacy cannot be zero) | N/A
| Pset_Electrical | RatedVoltage | must exist | float | 220 ≤ Voltage ≤ 240 (230 +/- 10%) | N/A
| Pset_Electrical | PowerFactor | must exist | float | 0 ≤ PF ≤ 1 | N/A
| Pset_Electrical | StandByPower | must exist | float | ≥ 0 (cannot be negative) | N/A
| Pset_MechanicalAndInstallation | Length | must exist | float | > 0 (physical dimension cannot be negative) | N/A
| Pset_MechanicalAndInstallation | Width | must exist | float | > 0 (dimension cannot be zero) | N/A
| Pset_MechanicalAndInstallation | Height | must exist | float | > 0 (dimension cannot be zero) | N/A
| Pset_MechanicalAndInstallation | IPRating | must exist | string | Must not be empty | IP20 IP21 IP22 IP23 IP24 IP25 IP26 IP27 IP28 IP30 IP31 IP32 IP33 IP34 IP35 IP36 IP37 IP38 IP40 IP41 IP42 IP43 IP44 IP45 IP46 IP47 IP48 IP50 IP51 IP52 IP53 IP54 IP55 IP56 IP57 IP58 IP60 IP61 IP62 IP63 IP64 IP65 IP66 IP67 IP68 IP69 IP69K
| Pset_MechanicalAndInstallation | MountingType | must exist | string | Must not be empty | SurfaceMounted Pendant FreeStanding Recessed PartlyRecessed TrimlessRecessed PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other

## Data
Cardinality | IFC Version | Applicability Type | Entity Facets
required | IFC2X3 | entity | IFC4X3_ADD2 | IFC4 | IFC2X3
optional | IFC4 | partOf | IfcActionRequest | IfcActionRequest | Ifc2DCompositeCurve
prohibited | IFC4X3_ADD2 | classification | IfcActor | IfcActor | IfcActionRequest
|  | attribute | IfcActorRole | IfcActorRole | IfcActor
|  | property | IfcActuator | IfcActuator | IfcActorRole
|  | material | IfcActuatorType | IfcActuatorType | IfcActuatorType
|  |  | IfcAddress | IfcAddress | IfcAddress
|  |  | IfcAdvancedBrep | IfcAdvancedBrep | IfcAirTerminalBoxType
|  |  | IfcAdvancedBrepWithVoids | IfcAdvancedBrepWithVoids | IfcAirTerminalType
|  |  | IfcAdvancedFace | IfcAdvancedFace | IfcAirToAirHeatRecoveryType
|  |  | IfcAirTerminal | IfcAirTerminal | IfcAlarmType
|  |  | IfcAirTerminalBox | IfcAirTerminalBox | IfcAngularDimension
|  |  | IfcAirTerminalBoxType | IfcAirTerminalBoxType | IfcAnnotation
|  |  | IfcAirTerminalType | IfcAirTerminalType | IfcAnnotationCurveOccurrence
|  |  | IfcAirToAirHeatRecovery | IfcAirToAirHeatRecovery | IfcAnnotationFillArea
|  |  | IfcAirToAirHeatRecoveryType | IfcAirToAirHeatRecoveryType | IfcAnnotationFillAreaOccurrence
|  |  | IfcAlarm | IfcAlarm | IfcAnnotationOccurrence
|  |  | IfcAlarmType | IfcAlarmType | IfcAnnotationSurface
|  |  | IfcAlignment | IfcAnnotation | IfcAnnotationSurfaceOccurrence
|  |  | IfcAlignmentCant | IfcAnnotationFillArea | IfcAnnotationSymbolOccurrence
|  |  | IfcAlignmentCantSegment | IfcApplication | IfcAnnotationTextOccurrence
|  |  | IfcAlignmentHorizontal | IfcAppliedValue | IfcApplication
|  |  | IfcAlignmentHorizontalSegment | IfcApproval | IfcAppliedValue
|  |  | IfcAlignmentParameterSegment | IfcApprovalRelationship | IfcAppliedValueRelationship
|  |  | IfcAlignmentSegment | IfcArbitraryClosedProfileDef | IfcApproval
|  |  | IfcAlignmentVertical | IfcArbitraryOpenProfileDef | IfcApprovalActorRelationship
|  |  | IfcAlignmentVerticalSegment | IfcArbitraryProfileDefWithVoids | IfcApprovalPropertyRelationship
|  |  | IfcAnnotation | IfcAsset | IfcApprovalRelationship
|  |  | IfcAnnotationFillArea | IfcAsymmetricIShapeProfileDef | IfcArbitraryClosedProfileDef
|  |  | IfcApplication | IfcAudioVisualAppliance | IfcArbitraryOpenProfileDef
|  |  | IfcAppliedValue | IfcAudioVisualApplianceType | IfcArbitraryProfileDefWithVoids
|  |  | IfcApproval | IfcAxis1Placement | IfcAsset
|  |  | IfcApprovalRelationship | IfcAxis2Placement2D | IfcAsymmetricIShapeProfileDef
|  |  | IfcArbitraryClosedProfileDef | IfcAxis2Placement3D | IfcAxis1Placement
|  |  | IfcArbitraryOpenProfileDef | IfcBeam | IfcAxis2Placement2D
|  |  | IfcArbitraryProfileDefWithVoids | IfcBeamStandardCase | IfcAxis2Placement3D
|  |  | IfcAsset | IfcBeamType | IfcBSplineCurve
|  |  | IfcAsymmetricIShapeProfileDef | IfcBlobTexture | IfcBeam
|  |  | IfcAudioVisualAppliance | IfcBlock | IfcBeamType
|  |  | IfcAudioVisualApplianceType | IfcBoiler | IfcBezierCurve
|  |  | IfcAxis1Placement | IfcBoilerType | IfcBlobTexture
|  |  | IfcAxis2Placement2D | IfcBooleanClippingResult | IfcBlock
|  |  | IfcAxis2Placement3D | IfcBooleanResult | IfcBoilerType
|  |  | IfcAxis2PlacementLinear | IfcBoundaryCondition | IfcBooleanClippingResult
|  |  | IfcBSplineCurve | IfcBoundaryCurve | IfcBooleanResult
|  |  | IfcBSplineCurveWithKnots | IfcBoundaryEdgeCondition | IfcBoundaryCondition
|  |  | IfcBSplineSurface | IfcBoundaryFaceCondition | IfcBoundaryEdgeCondition
|  |  | IfcBSplineSurfaceWithKnots | IfcBoundaryNodeCondition | IfcBoundaryFaceCondition
|  |  | IfcBeam | IfcBoundaryNodeConditionWarping | IfcBoundaryNodeCondition
|  |  | IfcBeamType | IfcBoundedCurve | IfcBoundaryNodeConditionWarping
|  |  | IfcBearing | IfcBoundedSurface | IfcBoundedCurve
|  |  | IfcBearingType | IfcBoundingBox | IfcBoundedSurface
|  |  | IfcBlobTexture | IfcBoxedHalfSpace | IfcBoundingBox
|  |  | IfcBlock | IfcBSplineCurve | IfcBoxedHalfSpace
|  |  | IfcBoiler | IfcBSplineCurveWithKnots | IfcBuilding
|  |  | IfcBoilerType | IfcBSplineSurface | IfcBuildingElement
|  |  | IfcBooleanClippingResult | IfcBSplineSurfaceWithKnots | IfcBuildingElementComponent
|  |  | IfcBooleanResult | IfcBuilding | IfcBuildingElementPart
|  |  | IfcBorehole | IfcBuildingElement | IfcBuildingElementProxy
|  |  | IfcBoundaryCondition | IfcBuildingElementPart | IfcBuildingElementProxyType
|  |  | IfcBoundaryCurve | IfcBuildingElementPartType | IfcBuildingElementType
|  |  | IfcBoundaryEdgeCondition | IfcBuildingElementProxy | IfcBuildingStorey
|  |  | IfcBoundaryFaceCondition | IfcBuildingElementProxyType | IfcCShapeProfileDef
|  |  | IfcBoundaryNodeCondition | IfcBuildingElementType | IfcCableCarrierFittingType
|  |  | IfcBoundaryNodeConditionWarping | IfcBuildingStorey | IfcCableCarrierSegmentType
|  |  | IfcBoundedCurve | IfcBuildingSystem | IfcCableSegmentType
|  |  | IfcBoundedSurface | IfcBurner | IfcCalendarDate
|  |  | IfcBoundingBox | IfcBurnerType | IfcCartesianPoint
|  |  | IfcBoxedHalfSpace | IfcCableCarrierFitting | IfcCartesianTransformationOperator
|  |  | IfcBridge | IfcCableCarrierFittingType | IfcCartesianTransformationOperator2D
|  |  | IfcBridgePart | IfcCableCarrierSegment | IfcCartesianTransformationOperator2DnonUniform
|  |  | IfcBuilding | IfcCableCarrierSegmentType | IfcCartesianTransformationOperator3D
|  |  | IfcBuildingElementPart | IfcCableFitting | IfcCartesianTransformationOperator3DnonUniform
|  |  | IfcBuildingElementPartType | IfcCableFittingType | IfcCenterLineProfileDef
|  |  | IfcBuildingElementProxy | IfcCableSegment | IfcChamferEdgeFeature
|  |  | IfcBuildingElementProxyType | IfcCableSegmentType | IfcChillerType
|  |  | IfcBuildingStorey | IfcCartesianPoint | IfcCircle
|  |  | IfcBuildingSystem | IfcCartesianPointList | IfcCircleHollowProfileDef
|  |  | IfcBuiltElement | IfcCartesianPointList2D | IfcCircleProfileDef
|  |  | IfcBuiltElementType | IfcCartesianPointList3D | IfcClassification
|  |  | IfcBuiltSystem | IfcCartesianTransformationOperator | IfcClassificationItem
|  |  | IfcBurner | IfcCartesianTransformationOperator2D | IfcClassificationItemRelationship
|  |  | IfcBurnerType | IfcCartesianTransformationOperator2DnonUniform | IfcClassificationNotation
|  |  | IfcCShapeProfileDef | IfcCartesianTransformationOperator3D | IfcClassificationNotationFacet
|  |  | IfcCableCarrierFitting | IfcCartesianTransformationOperator3DnonUniform | IfcClassificationReference
|  |  | IfcCableCarrierFittingType | IfcCenterLineProfileDef | IfcClosedShell
|  |  | IfcCableCarrierSegment | IfcChiller | IfcCoilType
|  |  | IfcCableCarrierSegmentType | IfcChillerType | IfcColourRgb
|  |  | IfcCableFitting | IfcChimney | IfcColourSpecification
|  |  |  | IfcChimneyType | IfcColumn
|  |  |  | IfcCircle | IfcColumnType
|  |  |  | IfcCircleHollowProfileDef | IfcComplexProperty
|  |  |  | IfcCircleProfileDef | IfcCompositeCurve
|  |  |  | IfcCivilElement | IfcCompositeCurveSegment
|  |  |  | IfcCivilElementType | IfcCompositeProfileDef
|  |  |  | IfcClassification | IfcCompressorType
|  |  |  | IfcClassificationReference | IfcCondenserType
|  |  |  | IfcClosedShell | IfcCondition
|  |  |  | IfcCoil | IfcConditionCriterion
|  |  |  | IfcCoilType | IfcConic
|  |  |  | IfcColourRgb | IfcConnectedFaceSet
|  |  |  | IfcColourRgbList | IfcConnectionCurveGeometry
|  |  |  | IfcColourSpecification | IfcConnectionGeometry
|  |  |  | IfcColumn | IfcConnectionPointEccentricity
|  |  |  | IfcColumnStandardCase | IfcConnectionPointGeometry
|  |  |  | IfcColumnType | IfcConnectionPortGeometry
|  |  |  | IfcCommunicationsAppliance | IfcConnectionSurfaceGeometry
|  |  |  | IfcCommunicationsApplianceType | IfcConstraint
|  |  |  | IfcComplexProperty | IfcConstraintAggregationRelationship
|  |  |  | IfcComplexPropertyTemplate | IfcConstraintClassificationRelationship
|  |  |  | IfcCompositeCurve | IfcConstraintRelationship
|  |  |  | IfcCompositeCurveOnSurface | IfcConstructionEquipmentResource
|  |  |  | IfcCompositeCurveSegment | IfcConstructionMaterialResource
|  |  |  | IfcCompositeProfileDef | IfcConstructionProductResource
|  |  |  | IfcCompressor | IfcConstructionResource
|  |  |  | IfcCompressorType | IfcContextDependentUnit
|  |  |  | IfcCondenser | IfcControl
|  |  |  | IfcCondenserType | IfcControllerType
|  |  |  | IfcConic | IfcConversionBasedUnit
|  |  |  | IfcConnectedFaceSet | IfcCooledBeamType
|  |  |  | IfcConnectionCurveGeometry | IfcCoolingTowerType
|  |  |  | IfcConnectionGeometry | IfcCoordinatedUniversalTimeOffset
|  |  |  | IfcConnectionPointEccentricity | IfcCostItem
|  |  |  | IfcConnectionPointGeometry | IfcCostSchedule
|  |  |  | IfcConnectionSurfaceGeometry | IfcCostValue
|  |  |  | IfcConnectionVolumeGeometry | IfcCovering
|  |  |  | IfcConstraint | IfcCoveringType
|  |  |  | IfcConstructionEquipmentResource | IfcCraneRailAShapeProfileDef
|  |  |  | IfcConstructionEquipmentResourceType | IfcCraneRailFShapeProfileDef
|  |  |  | IfcConstructionMaterialResource | IfcCrewResource
|  |  |  | IfcConstructionMaterialResourceType | IfcCsgPrimitive3D
|  |  |  | IfcConstructionProductResource | IfcCsgSolid
|  |  |  | IfcConstructionProductResourceType | IfcCurrencyRelationship
|  |  |  | IfcConstructionResource | IfcCurtainWall
|  |  |  | IfcConstructionResourceType | IfcCurtainWallType
|  |  |  | IfcContext | IfcCurve
|  |  |  | IfcContextDependentUnit | IfcCurveBoundedPlane
|  |  |  | IfcControl | IfcCurveStyle
|  |  |  | IfcController | IfcCurveStyleFont
|  |  |  | IfcControllerType | IfcCurveStyleFontAndScaling
|  |  |  | IfcConversionBasedUnit | IfcCurveStyleFontPattern
|  |  |  | IfcConversionBasedUnitWithOffset | IfcDamperType
|  |  |  | IfcCooledBeam | IfcDateAndTime
|  |  |  | IfcCooledBeamType | IfcDefinedSymbol
|  |  |  | IfcCoolingTower | IfcDerivedProfileDef
|  |  |  | IfcCoolingTowerType | IfcDerivedUnit
|  |  |  | IfcCoordinateOperation | IfcDerivedUnitElement
|  |  |  | IfcCoordinateReferenceSystem | IfcDiameterDimension
|  |  |  | IfcCostItem | IfcDimensionCalloutRelationship
|  |  |  | IfcCostSchedule | IfcDimensionCurve
|  |  |  | IfcCostValue | IfcDimensionCurveDirectedCallout
|  |  |  | IfcCovering | IfcDimensionCurveTerminator
|  |  |  | IfcCoveringType | IfcDimensionPair
|  |  |  | IfcCrewResource | IfcDimensionalExponents
|  |  |  | IfcCrewResourceType | IfcDirection
|  |  |  | IfcCsgPrimitive3D | IfcDiscreteAccessory
|  |  |  | IfcCsgSolid | IfcDiscreteAccessoryType
|  |  |  | IfcCShapeProfileDef | IfcDistributionChamberElement
|  |  |  | IfcCurrencyRelationship | IfcDistributionChamberElementType
|  |  |  | IfcCurtainWall | IfcDistributionControlElement
|  |  |  | IfcCurtainWallType | IfcDistributionControlElementType
|  |  |  | IfcCurve | IfcDistributionElement
|  |  |  | IfcCurveBoundedPlane | IfcDistributionElementType
|  |  |  | IfcCurveBoundedSurface | IfcDistributionFlowElement
|  |  |  | IfcCurveStyle | IfcDistributionFlowElementType
|  |  |  | IfcCurveStyleFont | IfcDistributionPort
|  |  |  | IfcCurveStyleFontAndScaling | IfcDocumentElectronicFormat
|  |  |  | IfcCurveStyleFontPattern | IfcDocumentInformation
|  |  |  | IfcCylindricalSurface | IfcDocumentInformationRelationship
|  |  |  | IfcDamper | IfcDocumentReference
|  |  |  | IfcDamperType | IfcDoor
|  |  |  | IfcDerivedProfileDef | IfcDoorLiningProperties
|  |  |  | IfcDerivedUnit | IfcDoorPanelProperties
|  |  |  | IfcDerivedUnitElement | IfcDoorStyle
|  |  |  | IfcDimensionalExponents | IfcDraughtingCallout
|  |  |  | IfcDirection | IfcDraughtingCalloutRelationship
|  |  |  | IfcDiscreteAccessory | IfcDraughtingPreDefinedColour
|  |  |  | IfcDiscreteAccessoryType | IfcDraughtingPreDefinedCurveFont
|  |  |  | IfcDistributionChamberElement | IfcDraughtingPreDefinedTextFont
|  |  |  | IfcDistributionChamberElementType | IfcDuctFittingType
|  |  |  | IfcDistributionCircuit | IfcDuctSegmentType
|  |  |  | IfcDistributionControlElement | IfcDuctSilencerType
|  |  |  | IfcDistributionControlElementType | IfcEdge
|  |  |  | IfcDistributionElement | IfcEdgeCurve
|  |  |  | IfcDistributionElementType | IfcEdgeFeature
|  |  |  | IfcDistributionFlowElement | IfcEdgeLoop
|  |  |  | IfcDistributionFlowElementType | IfcElectricApplianceType
|  |  |  | IfcDistributionPort | IfcElectricDistributionPoint
|  |  |  | IfcDistributionSystem | IfcElectricFlowStorageDeviceType
|  |  |  | IfcDocumentInformation | IfcElectricGeneratorType
|  |  |  | IfcDocumentInformationRelationship | IfcElectricHeaterType
|  |  |  | IfcDocumentReference | IfcElectricMotorType
|  |  |  | IfcDoor | IfcElectricTimeControlType
|  |  |  | IfcDoorLiningProperties | IfcElectricalBaseProperties
|  |  |  | IfcDoorPanelProperties | IfcElectricalCircuit
|  |  |  | IfcDoorStandardCase | IfcElectricalElement
|  |  |  | IfcDoorStyle | IfcElement
|  |  |  | IfcDoorType | IfcElementAssembly
|  |  |  | IfcDraughtingPreDefinedColour | IfcElementComponent
|  |  |  | IfcDraughtingPreDefinedCurveFont | IfcElementComponentType
|  |  |  | IfcDuctFitting | IfcElementQuantity
|  |  |  | IfcDuctFittingType | IfcElementType
|  |  |  | IfcDuctSegment | IfcElementarySurface
|  |  |  | IfcDuctSegmentType | IfcEllipse
|  |  |  | IfcDuctSilencer | IfcEllipseProfileDef
|  |  |  | IfcDuctSilencerType | IfcEnergyConversionDevice
|  |  |  | IfcEdge | IfcEnergyConversionDeviceType
|  |  |  | IfcEdgeCurve | IfcEnergyProperties
|  |  |  | IfcEdgeLoop | IfcEnvironmentalImpactValue
|  |  |  | IfcElectricAppliance | IfcEquipmentElement
|  |  |  | IfcElectricApplianceType | IfcEquipmentStandard
|  |  |  | IfcElectricDistributionBoard | IfcEvaporativeCoolerType
|  |  |  | IfcElectricDistributionBoardType | IfcEvaporatorType
|  |  |  | IfcElectricFlowStorageDevice | IfcExtendedMaterialProperties
|  |  |  | IfcElectricFlowStorageDeviceType | IfcExternalReference
|  |  |  | IfcElectricGenerator | IfcExternallyDefinedHatchStyle
|  |  |  | IfcElectricGeneratorType | IfcExternallyDefinedSurfaceStyle
|  |  |  | IfcElectricMotor | IfcExternallyDefinedSymbol
|  |  |  | IfcElectricMotorType | IfcExternallyDefinedTextFont
|  |  |  | IfcElectricTimeControl | IfcExtrudedAreaSolid
|  |  |  | IfcElectricTimeControlType | IfcFace
|  |  |  | IfcElement | IfcFaceBasedSurfaceModel
|  |  |  | IfcElementarySurface | IfcFaceBound
|  |  |  | IfcElementAssembly | IfcFaceOuterBound
|  |  |  | IfcElementAssemblyType | IfcFaceSurface
|  |  |  | IfcElementComponent | IfcFacetedBrep
|  |  |  | IfcElementComponentType | IfcFacetedBrepWithVoids
|  |  |  | IfcElementQuantity | IfcFailureConnectionCondition
|  |  |  | IfcElementType | IfcFanType
|  |  |  | IfcEllipse | IfcFastener
|  |  |  | IfcEllipseProfileDef | IfcFastenerType
|  |  |  | IfcEnergyConversionDevice | IfcFeatureElement
|  |  |  | IfcEnergyConversionDeviceType | IfcFeatureElementAddition
|  |  |  | IfcEngine | IfcFeatureElementSubtraction
|  |  |  | IfcEngineType | IfcFillAreaStyle
|  |  |  | IfcEvaporativeCooler | IfcFillAreaStyleHatching
|  |  |  | IfcEvaporativeCoolerType | IfcFillAreaStyleTileSymbolWithStyle
|  |  |  | IfcEvaporator | IfcFillAreaStyleTiles
|  |  |  | IfcEvaporatorType | IfcFilterType
|  |  |  | IfcEvent | IfcFireSuppressionTerminalType
|  |  |  | IfcEventTime | IfcFlowController
|  |  |  | IfcEventType | IfcFlowControllerType
|  |  |  | IfcExtendedProperties | IfcFlowFitting
|  |  |  | IfcExternalInformation | IfcFlowFittingType
|  |  |  | IfcExternallyDefinedHatchStyle | IfcFlowInstrumentType
|  |  |  | IfcExternallyDefinedSurfaceStyle | IfcFlowMeterType
|  |  |  | IfcExternallyDefinedTextFont | IfcFlowMovingDevice
|  |  |  | IfcExternalReference | IfcFlowMovingDeviceType
|  |  |  | IfcExternalReferenceRelationship | IfcFlowSegment
|  |  |  | IfcExternalSpatialElement | IfcFlowSegmentType
|  |  |  | IfcExternalSpatialStructureElement | IfcFlowStorageDevice
|  |  |  | IfcExtrudedAreaSolid | IfcFlowStorageDeviceType
|  |  |  | IfcExtrudedAreaSolidTapered | IfcFlowTerminal
|  |  |  | IfcFace | IfcFlowTerminalType
|  |  |  | IfcFaceBasedSurfaceModel | IfcFlowTreatmentDevice
|  |  |  | IfcFaceBound | IfcFlowTreatmentDeviceType
|  |  |  | IfcFaceOuterBound | IfcFluidFlowProperties
|  |  |  | IfcFaceSurface | IfcFooting
|  |  |  | IfcFacetedBrep | IfcFuelProperties
|  |  |  | IfcFacetedBrepWithVoids | IfcFurnishingElement
|  |  |  | IfcFailureConnectionCondition | IfcFurnishingElementType
|  |  |  | IfcFan | IfcFurnitureStandard
|  |  |  | IfcFanType | IfcFurnitureType
|  |  |  | IfcFastener | IfcGasTerminalType
|  |  |  | IfcFastenerType | IfcGeneralMaterialProperties
|  |  |  | IfcFeatureElement | IfcGeneralProfileProperties
|  |  |  | IfcFeatureElementAddition | IfcGeometricCurveSet
|  |  |  | IfcFeatureElementSubtraction | IfcGeometricRepresentationContext
|  |  |  | IfcFillAreaStyle | IfcGeometricRepresentationItem
|  |  |  | IfcFillAreaStyleHatching | IfcGeometricRepresentationSubContext
|  |  |  | IfcFillAreaStyleTiles | IfcGeometricSet
|  |  |  | IfcFilter | IfcGrid
|  |  |  | IfcFilterType | IfcGridAxis
|  |  |  | IfcFireSuppressionTerminal | IfcGridPlacement
|  |  |  | IfcFireSuppressionTerminalType | IfcGroup
|  |  |  | IfcFixedReferenceSweptAreaSolid | IfcHalfSpaceSolid
|  |  |  | IfcFlowController | IfcHeatExchangerType
|  |  |  | IfcFlowControllerType | IfcHumidifierType
|  |  |  | IfcFlowFitting | IfcHygroscopicMaterialProperties
|  |  |  | IfcFlowFittingType | IfcIShapeProfileDef
|  |  |  | IfcFlowInstrument | IfcImageTexture
|  |  |  | IfcFlowInstrumentType | IfcInventory
|  |  |  | IfcFlowMeter | IfcIrregularTimeSeries
|  |  |  | IfcFlowMeterType | IfcIrregularTimeSeriesValue
|  |  |  | IfcFlowMovingDevice | IfcJunctionBoxType
|  |  |  | IfcFlowMovingDeviceType | IfcLShapeProfileDef
|  |  |  | IfcFlowSegment | IfcLaborResource
|  |  |  | IfcFlowSegmentType | IfcLampType
|  |  |  | IfcFlowStorageDevice | IfcLibraryInformation
|  |  |  | IfcFlowStorageDeviceType | IfcLibraryReference
|  |  |  | IfcFlowTerminal | IfcLightDistributionData
|  |  |  | IfcFlowTerminalType | IfcLightFixtureType
|  |  |  | IfcFlowTreatmentDevice | IfcLightIntensityDistribution
|  |  |  | IfcFlowTreatmentDeviceType | IfcLightSource
|  |  |  | IfcFooting | IfcLightSourceAmbient
|  |  |  | IfcFootingType | IfcLightSourceDirectional
|  |  |  | IfcFurnishingElement | IfcLightSourceGoniometric
|  |  |  | IfcFurnishingElementType | IfcLightSourcePositional
|  |  |  | IfcFurniture | IfcLightSourceSpot
|  |  |  | IfcFurnitureType | IfcLine
|  |  |  | IfcGeographicElement | IfcLinearDimension
|  |  |  | IfcGeographicElementType | IfcLocalPlacement
|  |  |  | IfcGeometricCurveSet | IfcLocalTime
|  |  |  | IfcGeometricRepresentationContext | IfcLoop
|  |  |  | IfcGeometricRepresentationItem | IfcManifoldSolidBrep
|  |  |  | IfcGeometricRepresentationSubContext | IfcMappedItem
|  |  |  | IfcGeometricSet | IfcMaterial
|  |  |  | IfcGrid | IfcMaterialClassificationRelationship
|  |  |  | IfcGridAxis | IfcMaterialDefinitionRepresentation
|  |  |  | IfcGridPlacement | IfcMaterialLayer
|  |  |  | IfcGroup | IfcMaterialLayerSet
|  |  |  | IfcHalfSpaceSolid | IfcMaterialLayerSetUsage
|  |  |  | IfcHeatExchanger | IfcMaterialList
|  |  |  | IfcHeatExchangerType | IfcMaterialProperties
|  |  |  | IfcHumidifier | IfcMeasureWithUnit
|  |  |  | IfcHumidifierType | IfcMechanicalConcreteMaterialProperties
|  |  |  | IfcImageTexture | IfcMechanicalFastener
|  |  |  | IfcIndexedColourMap | IfcMechanicalFastenerType
|  |  |  | IfcIndexedPolyCurve | IfcMechanicalMaterialProperties
|  |  |  | IfcIndexedPolygonalFace | IfcMechanicalSteelMaterialProperties
|  |  |  | IfcIndexedPolygonalFaceWithVoids | IfcMember
|  |  |  | IfcIndexedTextureMap | IfcMemberType
|  |  |  | IfcIndexedTriangleTextureMap | IfcMetric
|  |  |  | IfcInterceptor | IfcMonetaryUnit
|  |  |  | IfcInterceptorType | IfcMotorConnectionType
|  |  |  | IfcIntersectionCurve | IfcMove
|  |  |  | IfcInventory | IfcNamedUnit
|  |  |  | IfcIrregularTimeSeries | IfcObject
|  |  |  | IfcIrregularTimeSeriesValue | IfcObjectDefinition
|  |  |  | IfcIShapeProfileDef | IfcObjectPlacement
|  |  |  | IfcJunctionBox | IfcObjective
|  |  |  | IfcJunctionBoxType | IfcOccupant
|  |  |  | IfcLaborResource | IfcOffsetCurve2D
|  |  |  | IfcLaborResourceType | IfcOffsetCurve3D
|  |  |  | IfcLagTime | IfcOneDirectionRepeatFactor
|  |  |  | IfcLamp | IfcOpenShell
|  |  |  | IfcLampType | IfcOpeningElement
|  |  |  | IfcLibraryInformation | IfcOpticalMaterialProperties
|  |  |  | IfcLibraryReference | IfcOrderAction
|  |  |  | IfcLightDistributionData | IfcOrganization
|  |  |  | IfcLightFixture | IfcOrganizationRelationship
|  |  |  | IfcLightFixtureType | IfcOrientedEdge
|  |  |  | IfcLightIntensityDistribution | IfcOutletType
|  |  |  | IfcLightSource | IfcOwnerHistory
|  |  |  | IfcLightSourceAmbient | IfcParameterizedProfileDef
|  |  |  | IfcLightSourceDirectional | IfcPath
|  |  |  | IfcLightSourceGoniometric | IfcPerformanceHistory
|  |  |  | IfcLightSourcePositional | IfcPermeableCoveringProperties
|  |  |  | IfcLightSourceSpot | IfcPermit
|  |  |  | IfcLine | IfcPerson
|  |  |  | IfcLocalPlacement | IfcPersonAndOrganization
|  |  |  | IfcLoop | IfcPhysicalComplexQuantity
|  |  |  | IfcLShapeProfileDef | IfcPhysicalQuantity
|  |  |  | IfcManifoldSolidBrep | IfcPhysicalSimpleQuantity
|  |  |  | IfcMapConversion | IfcPile
|  |  |  | IfcMappedItem | IfcPipeFittingType
|  |  |  | IfcMaterial | IfcPipeSegmentType
|  |  |  | IfcMaterialClassificationRelationship | IfcPixelTexture
|  |  |  | IfcMaterialConstituent | IfcPlacement
|  |  |  | IfcMaterialConstituentSet | IfcPlanarBox
|  |  |  | IfcMaterialDefinition | IfcPlanarExtent
|  |  |  | IfcMaterialDefinitionRepresentation | IfcPlane
|  |  |  | IfcMaterialLayer | IfcPlate
|  |  |  | IfcMaterialLayerSet | IfcPlateType
|  |  |  | IfcMaterialLayerSetUsage | IfcPoint
|  |  |  | IfcMaterialLayerWithOffsets | IfcPointOnCurve
|  |  |  | IfcMaterialList | IfcPointOnSurface
|  |  |  | IfcMaterialProfile | IfcPolyLoop
|  |  |  | IfcMaterialProfileSet | IfcPolygonalBoundedHalfSpace
|  |  |  | IfcMaterialProfileSetUsage | IfcPolyline
|  |  |  | IfcMaterialProfileSetUsageTapering | IfcPort
|  |  |  | IfcMaterialProfileWithOffsets | IfcPostalAddress
|  |  |  | IfcMaterialProperties | IfcPreDefinedColour
|  |  |  | IfcMaterialRelationship | IfcPreDefinedCurveFont
|  |  |  | IfcMaterialUsageDefinition | IfcPreDefinedDimensionSymbol
|  |  |  | IfcMeasureWithUnit | IfcPreDefinedItem
|  |  |  | IfcMechanicalFastener | IfcPreDefinedPointMarkerSymbol
|  |  |  | IfcMechanicalFastenerType | IfcPreDefinedSymbol
|  |  |  | IfcMedicalDevice | IfcPreDefinedTerminatorSymbol
|  |  |  | IfcMedicalDeviceType | IfcPreDefinedTextFont
|  |  |  | IfcMember | IfcPresentationLayerAssignment
|  |  |  | IfcMemberStandardCase | IfcPresentationLayerWithStyle
|  |  |  | IfcMemberType | IfcPresentationStyle
|  |  |  | IfcMetric | IfcPresentationStyleAssignment
|  |  |  | IfcMirroredProfileDef | IfcProcedure
|  |  |  | IfcMonetaryUnit | IfcProcess
|  |  |  | IfcMotorConnection | IfcProduct
|  |  |  | IfcMotorConnectionType | IfcProductDefinitionShape
|  |  |  | IfcNamedUnit | IfcProductRepresentation
|  |  |  | IfcObject | IfcProductsOfCombustionProperties
|  |  |  | IfcObjectDefinition | IfcProfileDef
|  |  |  | IfcObjective | IfcProfileProperties
|  |  |  | IfcObjectPlacement | IfcProject
|  |  |  | IfcOccupant | IfcProjectOrder
|  |  |  | IfcOffsetCurve2D | IfcProjectOrderRecord
|  |  |  | IfcOffsetCurve3D | IfcProjectionCurve
|  |  |  | IfcOpeningElement | IfcProjectionElement
|  |  |  | IfcOpeningStandardCase | IfcProperty
|  |  |  | IfcOpenShell | IfcPropertyBoundedValue
|  |  |  | IfcOrganization | IfcPropertyConstraintRelationship
|  |  |  | IfcOrganizationRelationship | IfcPropertyDefinition
|  |  |  | IfcOrientedEdge | IfcPropertyDependencyRelationship
|  |  |  | IfcOuterBoundaryCurve | IfcPropertyEnumeratedValue
|  |  |  | IfcOutlet | IfcPropertyEnumeration
|  |  |  | IfcOutletType | IfcPropertyListValue
|  |  |  | IfcOwnerHistory | IfcPropertyReferenceValue
|  |  |  | IfcParameterizedProfileDef | IfcPropertySet
|  |  |  | IfcPath | IfcPropertySetDefinition
|  |  |  | IfcPcurve | IfcPropertySingleValue
|  |  |  | IfcPerformanceHistory | IfcPropertyTableValue
|  |  |  | IfcPermeableCoveringProperties | IfcProtectiveDeviceType
|  |  |  | IfcPermit | IfcProxy
|  |  |  | IfcPerson | IfcPumpType
|  |  |  | IfcPersonAndOrganization | IfcQuantityArea
|  |  |  | IfcPhysicalComplexQuantity | IfcQuantityCount
|  |  |  | IfcPhysicalQuantity | IfcQuantityLength
|  |  |  | IfcPhysicalSimpleQuantity | IfcQuantityTime
|  |  |  | IfcPile | IfcQuantityVolume
|  |  |  | IfcPileType | IfcQuantityWeight
|  |  |  | IfcPipeFitting | IfcRadiusDimension
|  |  |  | IfcPipeFittingType | IfcRailing
|  |  |  | IfcPipeSegment | IfcRailingType
|  |  |  | IfcPipeSegmentType | IfcRamp
|  |  |  | IfcPixelTexture | IfcRampFlight
|  |  |  | IfcPlacement | IfcRampFlightType
|  |  |  | IfcPlanarBox | IfcRationalBezierCurve
|  |  |  | IfcPlanarExtent | IfcRectangleHollowProfileDef
|  |  |  | IfcPlane | IfcRectangleProfileDef
|  |  |  | IfcPlate | IfcRectangularPyramid
|  |  |  | IfcPlateStandardCase | IfcRectangularTrimmedSurface
|  |  |  | IfcPlateType | IfcReferencesValueDocument
|  |  |  | IfcPoint | IfcRegularTimeSeries
|  |  |  | IfcPointOnCurve | IfcReinforcementBarProperties
|  |  |  | IfcPointOnSurface | IfcReinforcementDefinitionProperties
|  |  |  | IfcPolygonalBoundedHalfSpace | IfcReinforcingBar
|  |  |  | IfcPolygonalFaceSet | IfcReinforcingElement
|  |  |  | IfcPolyline | IfcReinforcingMesh
|  |  |  | IfcPolyLoop | IfcRelAggregates
|  |  |  | IfcPort | IfcRelAssigns
|  |  |  | IfcPostalAddress | IfcRelAssignsTasks
|  |  |  | IfcPreDefinedColour | IfcRelAssignsToActor
|  |  |  | IfcPreDefinedCurveFont | IfcRelAssignsToControl
|  |  |  | IfcPreDefinedItem | IfcRelAssignsToGroup
|  |  |  | IfcPreDefinedProperties | IfcRelAssignsToProcess
|  |  |  | IfcPreDefinedPropertySet | IfcRelAssignsToProduct
|  |  |  | IfcPreDefinedTextFont | IfcRelAssignsToProjectOrder
|  |  |  | IfcPresentationItem | IfcRelAssignsToResource
|  |  |  | IfcPresentationLayerAssignment | IfcRelAssociates
|  |  |  | IfcPresentationLayerWithStyle | IfcRelAssociatesAppliedValue
|  |  |  | IfcPresentationStyle | IfcRelAssociatesApproval
|  |  |  | IfcPresentationStyleAssignment | IfcRelAssociatesClassification
|  |  |  | IfcProcedure | IfcRelAssociatesConstraint
|  |  |  | IfcProcedureType | IfcRelAssociatesDocument
|  |  |  | IfcProcess | IfcRelAssociatesLibrary
|  |  |  | IfcProduct | IfcRelAssociatesMaterial
|  |  |  | IfcProductDefinitionShape | IfcRelAssociatesProfileProperties
|  |  |  | IfcProductRepresentation | IfcRelConnects
|  |  |  | IfcProfileDef | IfcRelConnectsElements
|  |  |  | IfcProfileProperties | IfcRelConnectsPathElements
|  |  |  | IfcProject | IfcRelConnectsPortToElement
|  |  |  | IfcProjectedCRS | IfcRelConnectsPorts
|  |  |  | IfcProjectionElement | IfcRelConnectsStructuralActivity
|  |  |  | IfcProjectLibrary | IfcRelConnectsStructuralElement
|  |  |  | IfcProjectOrder | IfcRelConnectsStructuralMember
|  |  |  | IfcProperty | IfcRelConnectsWithEccentricity
|  |  |  | IfcPropertyAbstraction | IfcRelConnectsWithRealizingElements
|  |  |  | IfcPropertyBoundedValue | IfcRelContainedInSpatialStructure
|  |  |  | IfcPropertyDefinition | IfcRelCoversBldgElements
|  |  |  | IfcPropertyDependencyRelationship | IfcRelCoversSpaces
|  |  |  | IfcPropertyEnumeratedValue | IfcRelDecomposes
|  |  |  | IfcPropertyEnumeration | IfcRelDefines
|  |  |  | IfcPropertyListValue | IfcRelDefinesByProperties
|  |  |  | IfcPropertyReferenceValue | IfcRelDefinesByType
|  |  |  | IfcPropertySet | IfcRelFillsElement
|  |  |  | IfcPropertySetDefinition | IfcRelFlowControlElements
|  |  |  | IfcPropertySetTemplate | IfcRelInteractionRequirements
|  |  |  | IfcPropertySingleValue | IfcRelNests
|  |  |  | IfcPropertyTableValue | IfcRelOccupiesSpaces
|  |  |  | IfcPropertyTemplate | IfcRelOverridesProperties
|  |  |  | IfcPropertyTemplateDefinition | IfcRelProjectsElement
|  |  |  | IfcProtectiveDevice | IfcRelReferencedInSpatialStructure
|  |  |  | IfcProtectiveDeviceTrippingUnit | IfcRelSchedulesCostItems
|  |  |  | IfcProtectiveDeviceTrippingUnitType | IfcRelSequence
|  |  |  | IfcProtectiveDeviceType | IfcRelServicesBuildings
|  |  |  | IfcProxy | IfcRelSpaceBoundary
|  |  |  | IfcPump | IfcRelVoidsElement
|  |  |  | IfcPumpType | IfcRelationship
|  |  |  | IfcQuantityArea | IfcRelaxation
|  |  |  | IfcQuantityCount | IfcRepresentation
|  |  |  | IfcQuantityLength | IfcRepresentationContext
|  |  |  | IfcQuantitySet | IfcRepresentationItem
|  |  |  | IfcQuantityTime | IfcRepresentationMap
|  |  |  | IfcQuantityVolume | IfcResource
|  |  |  | IfcQuantityWeight | IfcRevolvedAreaSolid
|  |  |  | IfcRailing | IfcRibPlateProfileProperties
|  |  |  | IfcRailingType | IfcRightCircularCone
|  |  |  | IfcRamp | IfcRightCircularCylinder
|  |  |  | IfcRampFlight | IfcRoof
|  |  |  | IfcRampFlightType | IfcRoot
|  |  |  | IfcRampType | IfcRoundedEdgeFeature
|  |  |  | IfcRationalBSplineCurveWithKnots | IfcRoundedRectangleProfileDef
|  |  |  | IfcRationalBSplineSurfaceWithKnots | IfcSIUnit
|  |  |  | IfcRectangleHollowProfileDef | IfcSanitaryTerminalType
|  |  |  | IfcRectangleProfileDef | IfcScheduleTimeControl
|  |  |  | IfcRectangularPyramid | IfcSectionProperties
|  |  |  | IfcRectangularTrimmedSurface | IfcSectionReinforcementProperties
|  |  |  | IfcRecurrencePattern | IfcSectionedSpine
|  |  |  | IfcReference | IfcSensorType
|  |  |  | IfcRegularTimeSeries | IfcServiceLife
|  |  |  | IfcReinforcementBarProperties | IfcServiceLifeFactor
|  |  |  | IfcReinforcementDefinitionProperties | IfcShapeAspect
|  |  |  | IfcReinforcingBar | IfcShapeModel
|  |  |  | IfcReinforcingBarType | IfcShapeRepresentation
|  |  |  | IfcReinforcingElement | IfcShellBasedSurfaceModel
|  |  |  | IfcReinforcingElementType | IfcSimpleProperty
|  |  |  | IfcReinforcingMesh | IfcSite
|  |  |  | IfcReinforcingMeshType | IfcSlab
|  |  |  | IfcRelAggregates | IfcSlabType
|  |  |  | IfcRelAssigns | IfcSlippageConnectionCondition
|  |  |  | IfcRelAssignsToActor | IfcSolidModel
|  |  |  | IfcRelAssignsToControl | IfcSoundProperties
|  |  |  | IfcRelAssignsToGroup | IfcSoundValue
|  |  |  | IfcRelAssignsToGroupByFactor | IfcSpace
|  |  |  | IfcRelAssignsToProcess | IfcSpaceHeaterType
|  |  |  | IfcRelAssignsToProduct | IfcSpaceProgram
|  |  |  | IfcRelAssignsToResource | IfcSpaceThermalLoadProperties
|  |  |  | IfcRelAssociates | IfcSpaceType
|  |  |  | IfcRelAssociatesApproval | IfcSpatialStructureElement
|  |  |  | IfcRelAssociatesClassification | IfcSpatialStructureElementType
|  |  |  | IfcRelAssociatesConstraint | IfcSphere
|  |  |  | IfcRelAssociatesDocument | IfcStackTerminalType
|  |  |  | IfcRelAssociatesLibrary | IfcStair
|  |  |  | IfcRelAssociatesMaterial | IfcStairFlight
|  |  |  | IfcRelationship | IfcStairFlightType
|  |  |  | IfcRelConnects | IfcStructuralAction
|  |  |  | IfcRelConnectsElements | IfcStructuralActivity
|  |  |  | IfcRelConnectsPathElements | IfcStructuralAnalysisModel
|  |  |  | IfcRelConnectsPorts | IfcStructuralConnection
|  |  |  | IfcRelConnectsPortToElement | IfcStructuralConnectionCondition
|  |  |  | IfcRelConnectsStructuralActivity | IfcStructuralCurveConnection
|  |  |  | IfcRelConnectsStructuralMember | IfcStructuralCurveMember
|  |  |  | IfcRelConnectsWithEccentricity | IfcStructuralCurveMemberVarying
|  |  |  | IfcRelConnectsWithRealizingElements | IfcStructuralItem
|  |  |  | IfcRelContainedInSpatialStructure | IfcStructuralLinearAction
|  |  |  | IfcRelCoversBldgElements | IfcStructuralLinearActionVarying
|  |  |  | IfcRelCoversSpaces | IfcStructuralLoad
|  |  |  | IfcRelDeclares | IfcStructuralLoadGroup
|  |  |  | IfcRelDecomposes | IfcStructuralLoadLinearForce
|  |  |  | IfcRelDefines | IfcStructuralLoadPlanarForce
|  |  |  | IfcRelDefinesByObject | IfcStructuralLoadSingleDisplacement
|  |  |  | IfcRelDefinesByProperties | IfcStructuralLoadSingleDisplacementDistortion
|  |  |  | IfcRelDefinesByTemplate | IfcStructuralLoadSingleForce
|  |  |  | IfcRelDefinesByType | IfcStructuralLoadSingleForceWarping
|  |  |  | IfcRelFillsElement | IfcStructuralLoadStatic
|  |  |  | IfcRelFlowControlElements | IfcStructuralLoadTemperature
|  |  |  | IfcRelInterferesElements | IfcStructuralMember
|  |  |  | IfcRelNests | IfcStructuralPlanarAction
|  |  |  | IfcRelProjectsElement | IfcStructuralPlanarActionVarying
|  |  |  | IfcRelReferencedInSpatialStructure | IfcStructuralPointAction
|  |  |  | IfcRelSequence | IfcStructuralPointConnection
|  |  |  | IfcRelServicesBuildings | IfcStructuralPointReaction
|  |  |  | IfcRelSpaceBoundary | IfcStructuralProfileProperties
|  |  |  | IfcRelSpaceBoundary1stLevel | IfcStructuralReaction
|  |  |  | IfcRelSpaceBoundary2ndLevel | IfcStructuralResultGroup
|  |  |  | IfcRelVoidsElement | IfcStructuralSteelProfileProperties
|  |  |  | IfcReparametrisedCompositeCurveSegment | IfcStructuralSurfaceConnection
|  |  |  | IfcRepresentation | IfcStructuralSurfaceMember
|  |  |  | IfcRepresentationContext | IfcStructuralSurfaceMemberVarying
|  |  |  | IfcRepresentationItem | IfcStructuredDimensionCallout
|  |  |  | IfcRepresentationMap | IfcStyleModel
|  |  |  | IfcResource | IfcStyledItem
|  |  |  | IfcResourceApprovalRelationship | IfcStyledRepresentation
|  |  |  | IfcResourceConstraintRelationship | IfcSubContractResource
|  |  |  | IfcResourceLevelRelationship | IfcSubedge
|  |  |  | IfcResourceTime | IfcSurface
|  |  |  | IfcRevolvedAreaSolid | IfcSurfaceCurveSweptAreaSolid
|  |  |  | IfcRevolvedAreaSolidTapered | IfcSurfaceOfLinearExtrusion
|  |  |  | IfcRightCircularCone | IfcSurfaceOfRevolution
|  |  |  | IfcRightCircularCylinder | IfcSurfaceStyle
|  |  |  | IfcRoof | IfcSurfaceStyleLighting
|  |  |  | IfcRoofType | IfcSurfaceStyleRefraction
|  |  |  | IfcRoot | IfcSurfaceStyleRendering
|  |  |  | IfcRoundedRectangleProfileDef | IfcSurfaceStyleShading
|  |  |  | IfcSanitaryTerminal | IfcSurfaceStyleWithTextures
|  |  |  | IfcSanitaryTerminalType | IfcSurfaceTexture
|  |  |  | IfcSchedulingTime | IfcSweptAreaSolid
|  |  |  | IfcSeamCurve | IfcSweptDiskSolid
|  |  |  | IfcSectionedSpine | IfcSweptSurface
|  |  |  | IfcSectionProperties | IfcSwitchingDeviceType
|  |  |  | IfcSectionReinforcementProperties | IfcSymbolStyle
|  |  |  | IfcSensor | IfcSystem
|  |  |  | IfcSensorType | IfcSystemFurnitureElementType
|  |  |  | IfcShadingDevice | IfcTShapeProfileDef
|  |  |  | IfcShadingDeviceType | IfcTable
|  |  |  | IfcShapeAspect | IfcTableRow
|  |  |  | IfcShapeModel | IfcTankType
|  |  |  | IfcShapeRepresentation | IfcTask
|  |  |  | IfcShellBasedSurfaceModel | IfcTelecomAddress
|  |  |  | IfcSimpleProperty | IfcTendon
|  |  |  | IfcSimplePropertyTemplate | IfcTendonAnchor
|  |  |  | IfcSite | IfcTerminatorSymbol
|  |  |  | IfcSIUnit | IfcTextLiteral
|  |  |  | IfcSlab | IfcTextLiteralWithExtent
|  |  |  | IfcSlabElementedCase | IfcTextStyle
|  |  |  | IfcSlabStandardCase | IfcTextStyleFontModel
|  |  |  | IfcSlabType | IfcTextStyleForDefinedFont
|  |  |  | IfcSlippageConnectionCondition | IfcTextStyleTextModel
|  |  |  | IfcSolarDevice | IfcTextStyleWithBoxCharacteristics
|  |  |  | IfcSolarDeviceType | IfcTextureCoordinate
|  |  |  | IfcSolidModel | IfcTextureCoordinateGenerator
|  |  |  | IfcSpace | IfcTextureMap
|  |  |  | IfcSpaceHeater | IfcTextureVertex
|  |  |  | IfcSpaceHeaterType | IfcThermalMaterialProperties
|  |  |  | IfcSpaceType | IfcTimeSeries
|  |  |  | IfcSpatialElement | IfcTimeSeriesReferenceRelationship
|  |  |  | IfcSpatialElementType | IfcTimeSeriesSchedule
|  |  |  | IfcSpatialStructureElement | IfcTimeSeriesValue
|  |  |  | IfcSpatialStructureElementType | IfcTopologicalRepresentationItem
|  |  |  | IfcSpatialZone | IfcTopologyRepresentation
|  |  |  | IfcSpatialZoneType | IfcTransformerType
|  |  |  | IfcSphere | IfcTransportElement
|  |  |  | IfcSphericalSurface | IfcTransportElementType
|  |  |  | IfcStackTerminal | IfcTrapeziumProfileDef
|  |  |  | IfcStackTerminalType | IfcTrimmedCurve
|  |  |  | IfcStair | IfcTubeBundleType
|  |  |  | IfcStairFlight | IfcTwoDirectionRepeatFactor
|  |  |  | IfcStairFlightType | IfcTypeObject
|  |  |  | IfcStairType | IfcTypeProduct
|  |  |  | IfcStructuralAction | IfcUShapeProfileDef
|  |  |  | IfcStructuralActivity | IfcUnitAssignment
|  |  |  | IfcStructuralAnalysisModel | IfcUnitaryEquipmentType
|  |  |  | IfcStructuralConnection | IfcValveType
|  |  |  | IfcStructuralConnectionCondition | IfcVector
|  |  |  | IfcStructuralCurveAction | IfcVertex
|  |  |  | IfcStructuralCurveConnection | IfcVertexBasedTextureMap
|  |  |  | IfcStructuralCurveMember | IfcVertexLoop
|  |  |  | IfcStructuralCurveMemberVarying | IfcVertexPoint
|  |  |  | IfcStructuralCurveReaction | IfcVibrationIsolatorType
|  |  |  | IfcStructuralItem | IfcVirtualElement
|  |  |  | IfcStructuralLinearAction | IfcVirtualGridIntersection
|  |  |  | IfcStructuralLoad | IfcWall
|  |  |  | IfcStructuralLoadCase | IfcWallStandardCase
|  |  |  | IfcStructuralLoadConfiguration | IfcWallType
|  |  |  | IfcStructuralLoadGroup | IfcWasteTerminalType
|  |  |  | IfcStructuralLoadLinearForce | IfcWaterProperties
|  |  |  | IfcStructuralLoadOrResult | IfcWindow
|  |  |  | IfcStructuralLoadPlanarForce | IfcWindowLiningProperties
|  |  |  | IfcStructuralLoadSingleDisplacement | IfcWindowPanelProperties
|  |  |  | IfcStructuralLoadSingleDisplacementDistortion | IfcWindowStyle
|  |  |  | IfcStructuralLoadSingleForce | IfcWorkControl
|  |  |  | IfcStructuralLoadSingleForceWarping | IfcWorkPlan
|  |  |  | IfcStructuralLoadStatic | IfcWorkSchedule
|  |  |  | IfcStructuralLoadTemperature | IfcZShapeProfileDef
|  |  |  | IfcStructuralMember | IfcZone
IfcStructuralPlanarAction
IfcStructuralPointAction
IfcStructuralPointConnection
IfcStructuralPointReaction
IfcStructuralReaction
IfcStructuralResultGroup
IfcStructuralSurfaceAction
IfcStructuralSurfaceConnection
IfcStructuralSurfaceMember
IfcStructuralSurfaceMemberVarying
IfcStructuralSurfaceReaction
IfcStyledItem
IfcStyledRepresentation
IfcStyleModel
IfcSubContractResource
IfcSubContractResourceType
IfcSubedge
IfcSurface
IfcSurfaceCurve
IfcSurfaceCurveSweptAreaSolid
IfcSurfaceFeature
IfcSurfaceOfLinearExtrusion
IfcSurfaceOfRevolution
IfcSurfaceReinforcementArea
IfcSurfaceStyle
IfcSurfaceStyleLighting
IfcSurfaceStyleRefraction
IfcSurfaceStyleRendering
IfcSurfaceStyleShading
IfcSurfaceStyleWithTextures
IfcSurfaceTexture
IfcSweptAreaSolid
IfcSweptDiskSolid
IfcSweptDiskSolidPolygonal
IfcSweptSurface
IfcSwitchingDevice
IfcSwitchingDeviceType
IfcSystem
IfcSystemFurnitureElement
IfcSystemFurnitureElementType
IfcTable
IfcTableColumn
IfcTableRow
IfcTank
IfcTankType
IfcTask
IfcTaskTime
IfcTaskTimeRecurring
IfcTaskType
IfcTelecomAddress
IfcTendon
IfcTendonAnchor
IfcTendonAnchorType
IfcTendonType
IfcTessellatedFaceSet
IfcTessellatedItem
IfcTextLiteral
IfcTextLiteralWithExtent
IfcTextStyle
IfcTextStyleFontModel
IfcTextStyleForDefinedFont
IfcTextStyleTextModel
IfcTextureCoordinate
IfcTextureCoordinateGenerator
IfcTextureMap
IfcTextureVertex
IfcTextureVertexList
IfcTimePeriod
IfcTimeSeries
IfcTimeSeriesValue
IfcTopologicalRepresentationItem
IfcTopologyRepresentation
IfcToroidalSurface
IfcTransformer
IfcTransformerType
IfcTransportElement
IfcTransportElementType
IfcTrapeziumProfileDef
IfcTriangulatedFaceSet
IfcTrimmedCurve
IfcTShapeProfileDef
IfcTubeBundle
IfcTubeBundleType
IfcTypeObject
IfcTypeProcess
IfcTypeProduct
IfcTypeResource
IfcUnitaryControlElement
IfcUnitaryControlElementType
IfcUnitaryEquipment
IfcUnitaryEquipmentType
IfcUnitAssignment
IfcUShapeProfileDef
IfcValve
IfcValveType
IfcVector
IfcVertex
IfcVertexLoop
IfcVertexPoint
IfcVibrationIsolator
IfcVibrationIsolatorType
IfcVirtualElement
IfcVirtualGridIntersection
IfcVoidingFeature
IfcWall
IfcWallElementedCase
IfcWallStandardCase
IfcWallType
IfcWasteTerminal
IfcWasteTerminalType
IfcWindow
IfcWindowLiningProperties
IfcWindowPanelProperties
IfcWindowStandardCase
IfcWindowStyle
IfcWindowType
IfcWorkCalendar
IfcWorkControl
IfcWorkPlan
IfcWorkSchedule
IfcWorkTime
IfcZone
IfcZShapeProfileDef

## DO NOT USE
INFO |  |  | SPECIFICATION | [5 empty] | APPLICABILITY |  | REQUIREMENTS
Milestone | Purpose | Author | Specification_Name | Specification_Identifier | Specification_Description | Specification_Instructions | Specification_Cardinality | IFC_Version | IfcEntity | IfcPredefinedType | Requirement_Description | PropertySet | Property_Name | Property_DataType | Property_Cardinality | Property_URI | Property_Instructions | Value_Type | Value_MinInclusive | Value_MaxInclusive | Value_Enumerations
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD2 | IfcLightFixtureType |  | Ratio of the amount of the active power to the apparant power at 100% load. See Also IEC 80000-6." | Pset_ElectricalAttributes | Power Factor | IFCNORMALISEDRATIOMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#CorrelatedColorTemperature | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD3 | IfcLightFixtureType |  | Nominal voltage at which the product operates normally as specified by the supplier or manufacturer. | Pset_ElectricalAttributes | Rated Voltage | IFCELECTRICVOLTAGEMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#LumenOutput | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD4 | IfcLightFixtureType |  | Power consumption of switched off luminaire. All electrical components including emergency and lighting controls components have to be considered. Is also known as parasitic power. See also EN 15193-1. | Pset_ElectricalAttributes | Standby Power | IFCELECTRICPOWERMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#LuminousEfficacy | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD5 | IfcLightFixtureType |  | Type of mounting used for the luminaire or sensing device. | Pset_Mechanical&InstallationAttributes | Mounting Type | IFCIDENTIFIER | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#RatedVoltage | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also. | enumeration |  |  | SurfaceMounted Pendant FreeStanding Recessed PartlyRecessed TrimlessRecessed PoleTop PoleSideEntry PoleIntegrated ConductorRail Connector Other
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD6 | IfcLightFixtureType |  | Length of the housing of the luminaire or sensing device. Length is set parallel to the C90-C270 plane. Corresponds to y-axis and with 90 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | Pset_Mechanical&InstallationAttributes | Length | IFCLENGTHMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#PowerFactor | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD7 | IfcLightFixtureType |  | The IP code classifies and rates the degree of protection provided against intrusion (body parts such as hands and fingers), dust, accidental contact, and water by mechanical casing and electrical enclosures. See Also, EN 60529. | Pset_Mechanical&InstallationAttributes | IP Rating | IFCIDENTIFIER | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#StandByPower | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also. | enumeration |  |  | IP20 IP21 IP22 IP23 IP24 IP25 IP26 IP27 IP28 IP30 IP31 IP32 IP33 IP34 IP35 IP36 IP37 IP38 IP40 IP41 IP42 IP43 IP44 IP45 IP46 IP47 IP48 IP50 IP51 IP52 IP53 IP54 IP55 IP56 IP57 IP58 IP60 IP61 IP62 IP63 IP64 IP65 IP66 IP67 IP68 IP69 IP69K
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD8 | IfcLightFixtureType |  | Height of the housing of the luminaire or sensing device. Corresponds to z-axis, gaMilliM angle 180 and 180 vertical of the light distribution curve. This definition is regardless or orientation of luminaires. See Figures 1. | Pset_Mechanical&InstallationAttributes | Height | IFCLENGTHMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#Length | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD9 | IfcLightFixtureType |  | Width of the housing of the luminaire or sensing device. Width is set parallel to the C0-C180 plane. Corresponds to the x-axis and with 0 horizontal of the Light Distribution Curve. This definition is regardless of orientation of luminaires. See Figure 1. | Pset_Mechanical&InstallationAttributes | Width | IFCLENGTHMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#Width | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD10 | IfcLightFixtureType |  | Value of the initial luminous flux of a given type of light source declared by the manufacturer or the responsible vendor, the light source being operated at an ambient temperature of 25 degree celcius. See also EN13032-4. | Pset_PhotometricAttributes | Rated Luminous Flux | IFCLUMINOUSFLUXMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#Height | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD11 | IfcLightFixtureType |  | Quotient of the luminous flux emitted by the luminaire and the power absorbed by the light source and associated circuits of the luminaire. | Pset_PhotometricAttributes | Luminous Efficacy | IFCRATIOMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#IPRating | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.
DesignPhase | LightingSimulation | BIMEngineer | Lighting Fixture - LOIN Core Properties |  | LOIN-aligned core electrical, photometric, and mechanical properties for IfcLightFixtureType. | The specification highlights the requirements from LOIN for Lighting Fixture based on SIS-CEN/TS 17623:2021. See URI, instruction to include attributes to each property requirements. | Required | IFC4X3_ADD12 | IfcLightFixtureType |  | The colour temperature of any source of radiation is defined as the temperature (in Kelvin) of a black-body or Planckian radiator whose radiation has the same chromaticity as the source radiation. See Also EN12665. | Pset_PhotometricAttributes | Correlated Color Temperature | IFCTHERMODYNAMICTEMPERATUREMEASURE | Required | http://www.semanticweb.org/acer/ontologies/2025/3/LOINforLightingSimulation#MountingType | In addition to the numeric values, provide metadata such as label, GUID, identifier, Units. See URI also.